## BOM
Designator | Components | Cost per package - CAD | Items per package | Items per REVOLVER | Total cost per REVOLVER (CAD) | Items per 3-device MULTIVOLVER | Total cost per 3-device MULTIVOLVER (CAD) | Items per 6-device MULTIVOLVER | Total cost per 6-device MULTIVOLVER (CAD) | Material Source | Material type
PURCHASED IN SETS
Servo | SG90 servo motor | 18 | 5 | 1 | 3.6 | 4 | 14.4 | 4 | 14.4 | https://www.amazon.ca/gp/product/B07Z16DWGW/ref=ppx_yo_dt_b_asin_title_o08_s00?ie=UTF8&psc=1 | Electronic Component
Servo horn | Single-sided horn for SG90 servo motor |  |  |  | cost included above |  | cost included above |  | cost included above | https://www.amazon.ca/gp/product/B07Z16DWGW/ref=ppx_yo_dt_b_asin_title_o08_s00?ie=UTF8&psc=1 | Metal
6 mm phillips screw | 6 mm phillips screw |  |  |  | cost included above |  | cost included above |  | cost included above | https://www.amazon.ca/gp/product/B07Z16DWGW/ref=ppx_yo_dt_b_asin_title_o08_s00?ie=UTF8&psc=1 | Metal
Stepper | 28BYJ-48 stepper motor with ULN2003 driver board | 20 | 5 | 1 | 4 | 3 | 12 | 3 | 12 | https://www.amazon.ca/gp/product/B087B5NWY4/ref=ppx_yo_dt_b_asin_title_o00_s00?ie=UTF8&psc=1 | Electronic Component
Stepper driver | ULN2003 (DIP-16L) Darlington array |  |  |  | cost included above |  | cost included above |  | cost included above | https://www.amazon.ca/gp/product/B087B5NWY4/ref=ppx_yo_dt_b_asin_title_o00_s00?ie=UTF8&psc=1 | Electronic Component
HARDWARE
PLA filament | EconoFil™ PLA 3D printer filament (assorted colours) | 25 | 1 | 0.3 | 7.5 | 0.6 | 15 | 0.95 | 23.75 | www.filaments.ca | PLA | kg
PVC pipe | PVC pipe | 33.44 | 5 | 0 | 0 | 1 | 6.688 | 1 | 6.688 | https://www.mcmaster.com/48925K99/ | PVC | ft
12 mm M3 screw | 12 mm M3 screw | 1.5 | 4 | 2 | 0.75 | 9 | 3.375 | 15 | 5.625 | https://www.creatroninc.com/product/12mm-m3-machine-screw-4-pack/ | Metal
6 mm M3 screw | 6 mm M3 screw | 1.5 | 4 | 4 | 1.5 | 16 | 6 | 28 | 10.5 | https://www.creatroninc.com/product/6mm-m3-tapper-machine-screw-4-pack/ | Metal
M3 nut | M3 nut | 1 | 4 | 2 | 0.5 | 9 | 2.25 | 15 | 3.75 | https://www.creatroninc.com/product/m3-nut-4-pack/ | Metal
Small tubing | Nalgene™ 489 Linear LDPE Tubing (8010-0125) | 100 | 100 | 10 | 10 | 12 | 12 | 15 | 15 | https://www.thermofisher.com/order/catalog/product/8010-0125 | LDPE | ft
Large tubing | Nalgene™ Non-Phthalate PVC Tubing (8701-4060) | 279 | 100 | 1 | 2.79 | 1.5 | 4.185 | 2 | 5.58 | https://www.thermofisher.com/order/catalog/product/8701-0010 | PVC | ft
1-way valve | Check Valve, Female Luer Lock Inlet, Barbed Outlet | 0.78 | 1 | 2 | 1.56 | 2 | 1.56 | 2 | 1.56 | https://www.qosina.com/check-valve-white-inlet-clear-outlet-female-luer-lock-barbed-80505 | Plastic
Valve adaptor | Male Luer with Spin Lock to Barb | 0.65 | 1 | 2 | 1.3 | 2 | 1.3 | 2 | 1.3 | https://www.qosina.com/male-luer-with-spin-lock-to-barb-89341 | Plastic
Tube connector | Hose tubing connectors, straight, conical nozzles (5-7 mm) | 9.98 | 10 | 7 | 6.986 | 10 | 9.98 | 13 | 12.974 | https://www.buerkle.de/en/hose-tubing-connectors-straight-conical-nozzles#similar | Plastic
Y Connector | Y Connector, Barbed, Natural | 1.58 | 1 | 0 | 0 | 3 | 4.74 | 5 | 7.9 | https://www.qosina.com/Y-Connector-Barbed-Natural-61628 | Plastic
ELECTRONICS
Prototyping board | 3cm x 7cm double-sided prototyping board | 2.8 | 1 | 1 | 2.8 | 1 | 2.8 | 2 | 5.6 | https://www.creatroninc.com/product/3-x-7cm-double-side-fr4-prototyping-board/ | Electronic Component
Headers (male/female) | Header connector (male header, female header) | 10.99 | 20 | 2 | 1.099 | 8 | 4.396 | 14 | 7.693 | https://www.amazon.ca/Neuftech-2-54mm-Single-Header-cannector/dp/B00QHS1IYG/ref=sr_1_3?keywords=header+connector&qid=1636819790&s=hi&sr=1-3 | Electronic Component
Power block | Screw Terminal Block | 1.5 | 1 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | https://www.creatroninc.com/product/2p-screw-terminal-block-0-2-2/ | Electronic Component
DC pumps | 12V DC pumps | 13.98 | 1 | 3 | 41.94 | 3 | 41.94 | 3 | 41.94 | https://www.amazon.ca/Gikfun-Aquarium-Cooled-Diaphragm-EK1856C/dp/B0744DL1S9/ref=sr_1_29?keywords=12V+dc+pump&qid=1636816619&sr=8-29 | Electronic Component
Nano | Arduino Nano | 28 | 5 | 1 | 5.6 | 4 | 22.4 | 7 | 39.2 | https://www.amazon.ca/gp/product/B0816SGKHH/ref=ppx_yo_dt_b_asin_title_o09_s00?ie=UTF8&psc=1 | Electronic Component
Hall sensor | A3144 hall effect sensor | 13 | 20 | 2 | 1.3 | 6 | 3.9 | 12 | 7.8 | https://www.amazon.ca/Effect-Sensor-A3144-A3144E-OH3144E/dp/B07QNX6HWT/ref=sr_1_5?keywords=A3144+hall+effect+sensor&qid=1636818623&sr=8-5 | Electronic Component
Magnet | 3x2mm round magnet | 14 | 150 | 1 | 0.093333 | 6 | 0.56 | 12 | 1.12 | https://www.amazon.ca/Magnets-Refrigertor-Whiteboard-Durable-Multi-Use/dp/B07C9FDR7V/ref=sr_1_7?keywords=3x2mm+round+magnet&qid=1636818656&sr=8-7 | Electronic Component
Jumper (FM) | Jumper wires (FM) | 5.95 | 40 | 10 | 1.4875 | 25 | 3.7188 | 40 | 5.95 | https://www.creatroninc.com/product/40-pin-m-f-splittable-jumper-wire/ | Electronic Component
Jumper (MM) | Jumper wires (MM) | 5.95 | 40 | 5 | 0.74375 | 10 | 1.4875 | 15 | 2.2313 | https://www.creatroninc.com/product/40-pin-m-m-splittable-jumper-wire/ | Electronic Component
Jumper (FF) | Jumper wires (FF) | 5.95 | 40 | 5 | 0.74375 | 10 | 1.4875 | 15 | 2.2313 | https://www.creatroninc.com/product/40-pin-f-f-splittable-jumper-wire/ | Electronic Component
Alligators | Alligator to Jumper wires (assorted M and F ends) | 6.5 | 10 | 6 | 3.9 | 6 | 3.9 | 6 | 3.9 | https://www.creatroninc.com/product/alligator-to-jumper-cable-10-pack/ | Electronic Component
Hookup wire | 22AWG Hookup Wire (Black) | 4.75 | 1 | 0.2 | 0.95 | 0.5 | 2.375 | 1 | 4.75 | https://www.creatroninc.com/product/22awg-hookup-wire-black/ | Electronic Component
Power supply | Variable voltage power supply | 27.99 | 1 | 2 | 55.98 | 2 | 55.98 | 2 | 55.98 | https://www.amazon.ca/gp/product/B083W5HC37/ref=ppx_yo_dt_b_asin_title_o04_s00?ie=UTF8&psc=1 | Electronic Component
16-pin socket | 16 pin DIP IC socket | 0.39 | 1 | 1 | 0.39 | 3 | 1.17 | 6 | 2.34 | https://www.pcboard.ca/16-pin-ic-socket-narrow | Electronic Component
MOSFET | IRF520 N-channel MOSFET | 2 | 1 | 2 | 4 | 2 | 4 | 2 | 4 | https://www.creatroninc.com/product/irf520-n-channel-mosfet-100v-9-7a/ | Electronic Component
10 kOhm resistor | 10 kOhm resistor | 0.25 | 10 | 2 | 0.05 | 2 | 0.05 | 2 | 0.05 | https://www.creatroninc.com/product/1-4w-assorted-resistor-kit/ | Electronic Component
1N4006 diode | 1N4007 rectifier diode | 1 | 4 | 2 | 0.5 | 2 | 0.5 | 2 | 0.5 | https://www.creatroninc.com/product/1n4007-1000v-1a-rectifier-diode-4-pack/ | Electronic Component
10 uF capacitor | 10 uF radial electrolytic capacitor | 0.45 | 2 | 1 | 0.225 | 4 | 0.9 | 7 | 1.575 | https://www.creatroninc.com/product/electrolytic-capacitor/ | Electronic Component
PCB | Printed circuit board | 15 | 10 | 1 | 1.5 | 4 | 6 | 7 | 10.5 | https://jlcpcb.com/?href=easyeda-home | Electronic Component
|  |  |  | TOTAL | 165.2883 | TOTAL | 252.5428 | TOTAL | 319.8875
TOOLS
Put in Captions
Gravity column | Glass chromatography column | 128 | 2 | 1 | 64 | 3 | 192 | 6 | 384 | https://www.bio-rad.com/fr-ca/sku/7371517-econo-column-chromatography-columns-1-5-15-cm?ID=7371517 | Composite
** mention: 1 power supply can be removed if PCB is desgined to control a third pump
[5 empty] | REVOLVER | 3-device MULTI-VOLVER | 6-device MUTLI-VOLVER
|  |  |  | Hardware | 40.49 | 88.11 | 112.5
|  |  |  | Electronics | 124.8 | 159.06 | 198.86